## Sheet1
Project: | Compressed Air System
Date:
Location:
Prepared By:
Bill of Quantities (BOQ)
S.No | Material / Item | Specification | Unit | Required Qty | Procurement Qty | Remark
1 | Air Compressor | - | Nos | 1 | 1 | Main Equipment
2 | Air Receiver Tank | - | Nos | 1 | 1 | Storage
3 | Air Dryer | - | Nos | 1 | 1 | Moisture removal
4 | Air Filter | - | Nos | 1 | 1 | Air filtration
5 | Main Air Pipe | GI Pipe / MS Pipe – DN50 | m | 15 | 15 | -
6 | Branch Air Pipe | GI Pipe / MS Pipe – DN25 | m | 18 | 18 | Branch piping
7 | Isolation Valve | As required | Nos | 8 | 8 | Isolation/maintenance
8 | Pressure Gauge | - | Nos | 3 | 3 | Pressure monitoring
9 | Pipe Support | - | Nos | 11 | 11 | Pipe support at approx. 3 m spacing